## April-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF APR 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1917.32 | 1917.32
2 | Energy Delivered to next (Lower) Voltage level | 1913.69 | 1913.69
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0 | 0
4 | Transmission loss in system (A1-A2-A3) | 3.63 | 3.63
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.19 | 0.19
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3119.53 | 3119.53
2 | Energy Delivered to next (Lower) Voltage level | 3068.42 | 3068.42
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 4.46 | 4.46
4 | Transmission loss in system (B1-B2-B3) | 46.65 | 46.65
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1.5 | 1.5
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3792.95 | 3792.95
2 | Energy Delivered to next (Lower) Voltage level | 3484.55 | 3484.55
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 251.59 | 251.59
4 | Transmission loss in system (C1-C2-C3) | 56.81 | 56.81
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.5 | 1.5
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 3864.29 | 3864.29
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 3757.24 | 3757.24
3 | Transmission loss in system (D1-D2) | 107.05 | 107.05
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.77 | 2.77

## May-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF MAY 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2146.69 | 4064.01
2 | Energy Delivered to next (Lower) Voltage level | 2139.71 | 4053.4
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0.48 | 0.48
4 | Transmission loss in system (A1-A2-A3) | 6.5 | 10.13
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.3 | 0.25
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3445.97 | 6565.5
2 | Energy Delivered to next (Lower) Voltage level | 3413.55 | 6481.96
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.07 | 11.53
4 | Transmission loss in system (B1-B2-B3) | 25.35 | 72.01
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.74 | 1.1
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4211.33 | 8004.27
2 | Energy Delivered to next (Lower) Voltage level | 3856.15 | 7340.7
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 271.97 | 523.56
4 | Transmission loss in system (C1-C2-C3) | 83.2 | 140.01
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.98 | 1.75
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4267.98 | 8132.27
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4152.5 | 7909.74
3 | Transmission loss in system (D1-D2) | 115.48 | 222.53
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.71 | 2.74

## June-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF JUN 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2407.62 | 6471.63
2 | Energy Delivered to next (Lower) Voltage level | 2397.37 | 6450.77
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0.87 | 1.36
4 | Transmission loss in system (A1-A2-A3) | 9.37 | 19.5
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.39 | 0.3
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3692.61 | 10258.11
2 | Energy Delivered to next (Lower) Voltage level | 3665.81 | 10147.77
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 2.98 | 14.52
4 | Transmission loss in system (B1-B2-B3) | 23.81 | 95.82
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.64 | 0.93
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4506.14 | 12510.41
2 | Energy Delivered to next (Lower) Voltage level | 4200.68 | 11541.38
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 209.94 | 733.5
4 | Transmission loss in system (C1-C2-C3) | 95.52 | 235.54
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.12 | 1.88
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4559.92 | 12692.19
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4430.99 | 12340.73
3 | Transmission loss in system (D1-D2) | 128.93 | 351.46
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.83 | 2.77

## July-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF JUL 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2489.3 | 8960.92
2 | Energy Delivered to next (Lower) Voltage level | 2484.11 | 8934.87
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 1.02 | 2.38
4 | Transmission loss in system (A1-A2-A3) | 4.17 | 23.67
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.17 | 0.26
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3723.25 | 13981.36
2 | Energy Delivered to next (Lower) Voltage level | 3686.33 | 13834.11
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.11 | 21.63
4 | Transmission loss in system (B1-B2-B3) | 29.8 | 125.62
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.8 | 0.9
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4567.52 | 17077.94
2 | Energy Delivered to next (Lower) Voltage level | 4299.24 | 15840.62
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 174.95 | 908.45
4 | Transmission loss in system (C1-C2-C3) | 93.33 | 328.87
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.04 | 1.93
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4624.47 | 17316.65
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4497.18 | 16837.91
3 | Transmission loss in system (D1-D2) | 127.29 | 478.75
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.75 | 2.76

## Aug-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF AUG 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2265.32 | 11226.24
2 | Energy Delivered to next (Lower) Voltage level | 2259.59 | 11194.46
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 1.1 | 3.48
4 | Transmission loss in system (A1-A2-A3) | 4.63 | 28.3
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.2 | 0.25
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3537.11 | 17518.47
2 | Energy Delivered to next (Lower) Voltage level | 3513.41 | 17347.52
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.41 | 29.04
4 | Transmission loss in system (B1-B2-B3) | 16.29 | 141.91
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.46 | 0.81
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4356.45 | 21434.38
2 | Energy Delivered to next (Lower) Voltage level | 4088.42 | 19929.04
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 176.08 | 1084.52
4 | Transmission loss in system (C1-C2-C3) | 91.95 | 420.82
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.11 | 1.96
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4400.36 | 21717.02
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4287.51 | 21125.41
3 | Transmission loss in system (D1-D2) | 112.85 | 591.6
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.56 | 2.72

## Sep-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF SEP 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2209.87 | 13436.11
2 | Energy Delivered to next (Lower) Voltage level | 2201.26 | 13395.72
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 1.13 | 4.61
4 | Transmission loss in system (A1-A2-A3) | 7.48 | 35.78
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.34 | 0.27
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3470.19 | 20988.66
2 | Energy Delivered to next (Lower) Voltage level | 3441.2 | 20788.72
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 6.41 | 35.45
4 | Transmission loss in system (B1-B2-B3) | 22.58 | 164.49
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.65 | 0.78
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4252.47 | 25686.34
2 | Energy Delivered to next (Lower) Voltage level | 4000.02 | 23929.06
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 168.17 | 1252.69
4 | Transmission loss in system (C1-C2-C3) | 84.28 | 504.59
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.98 | 1.96
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4304.77 | 26021.79
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4190.45 | 25315.86
3 | Transmission loss in system (D1-D2) | 114.33 | 705.93
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.66 | 2.71

## Oct-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF OCT 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2091.91 | 15528.02
2 | Energy Delivered to next (Lower) Voltage level | 2084.57 | 15480.29
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 1.2 | 5.8
4 | Transmission loss in system (A1-A2-A3) | 6.15 | 41.93
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.29 | 0.27
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3221.85 | 24210.51
2 | Energy Delivered to next (Lower) Voltage level | 3198.56 | 23987.28
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.27 | 42.71
4 | Transmission loss in system (B1-B2-B3) | 16.02 | 180.52
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.5 | 0.75
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3996.79 | 29683.14
2 | Energy Delivered to next (Lower) Voltage level | 3741.51 | 27670.57
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 171.6 | 1424.29
4 | Transmission loss in system (C1-C2-C3) | 83.68 | 588.27
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.09 | 1.98
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4040.2 | 30061.99
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 3934.49 | 29250.36
3 | Transmission loss in system (D1-D2) | 105.7 | 811.63
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.62 | 2.7

## Nov-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF NOV 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1348.22 | 16876.24
2 | Energy Delivered to next (Lower) Voltage level | 1341.57 | 16821.86
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 1.24 | 7.04
4 | Transmission loss in system (A1-A2-A3) | 5.41 | 47.34
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.4 | 0.28
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2285.52 | 26496.03
2 | Energy Delivered to next (Lower) Voltage level | 2258.37 | 26245.65
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 6.97 | 49.68
4 | Transmission loss in system (B1-B2-B3) | 20.19 | 200.7
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.88 | 0.76
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2755.24 | 32438.37
2 | Energy Delivered to next (Lower) Voltage level | 2535.43 | 30206
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 169.97 | 1594.26
4 | Transmission loss in system (C1-C2-C3) | 49.83 | 638.11
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.81 | 1.97
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 2799.68 | 32861.67
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 2724.75 | 31975.1
3 | Transmission loss in system (D1-D2) | 74.93 | 886.56
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.68 | 2.7

## Dec-24
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF DEC 2024
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1289.36 | 18165.6
2 | Energy Delivered to next (Lower) Voltage level | 1279.61 | 18101.47
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 2.03 | 9.07
4 | Transmission loss in system (A1-A2-A3) | 7.72 | 55.06
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.6 | 0.3
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2208.93 | 28704.96
2 | Energy Delivered to next (Lower) Voltage level | 2174.04 | 28419.69
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.56 | 57.24
4 | Transmission loss in system (B1-B2-B3) | 27.33 | 228.03
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1.24 | 0.79
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2734.01 | 35172.39
2 | Energy Delivered to next (Lower) Voltage level | 2503 | 32709
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 185.77 | 1780.04
4 | Transmission loss in system (C1-C2-C3) | 45.25 | 683.35
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.65 | 1.94
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 2789.85 | 35651.52
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 2709.57 | 34684.68
3 | Transmission loss in system (D1-D2) | 80.28 | 966.84
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.88 | 2.71

## Jan-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF JAN 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1411.67 | 19577.27
2 | Energy Delivered to next (Lower) Voltage level | 1402.44 | 19503.91
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 4.58 | 13.65
4 | Transmission loss in system (A1-A2-A3) | 4.65 | 59.71
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.33 | 0.3
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2506.4 | 31211.36
2 | Energy Delivered to next (Lower) Voltage level | 2459.85 | 30879.53
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.62 | 64.86
4 | Transmission loss in system (B1-B2-B3) | 38.93 | 266.96
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1.55 | 0.86
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3057.68 | 38230.07
2 | Energy Delivered to next (Lower) Voltage level | 2759.55 | 35468.54
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 240.38 | 2020.41
4 | Transmission loss in system (C1-C2-C3) | 57.76 | 741.11
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.89 | 1.94
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 3125.73 | 38777.25
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 3024.41 | 37709.08
3 | Transmission loss in system (D1-D2) | 101.32 | 1068.17
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 3.24 | 2.75

## Feb-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF FEB 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1305.64 | 20882.91
2 | Energy Delivered to next (Lower) Voltage level | 1293.95 | 20797.86
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 6.54 | 20.19
4 | Transmission loss in system (A1-A2-A3) | 5.15 | 64.86
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.39 | 0.31
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2246.34 | 33457.7
2 | Energy Delivered to next (Lower) Voltage level | 2223.54 | 33103.07
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 5.62 | 70.49
4 | Transmission loss in system (B1-B2-B3) | 17.18 | 284.14
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.76 | 0.85
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2744.23 | 40974.3
2 | Energy Delivered to next (Lower) Voltage level | 2432.62 | 37901.16
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 255.79 | 2276.21
4 | Transmission loss in system (C1-C2-C3) | 55.81 | 796.93
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.03 | 1.94
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 2793.53 | 41570.78
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 2715.39 | 40424.47
3 | Transmission loss in system (D1-D2) | 78.14 | 1146.31
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.8 | 2.76

## March-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF MAR 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1683.89 | 22566.8
2 | Energy Delivered to next (Lower) Voltage level | 1672.32 | 22470.18
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 4.83 | 25.02
4 | Transmission loss in system (A1-A2-A3) | 6.74 | 71.6
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.4 | 0.32
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2657.63 | 36115.33
2 | Energy Delivered to next (Lower) Voltage level | 2618.22 | 35721.29
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 7.41 | 77.9
4 | Transmission loss in system (B1-B2-B3) | 31.99 | 316.14
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1.2 | 0.88
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3258.45 | 44232.75
2 | Energy Delivered to next (Lower) Voltage level | 2915.35 | 40816.52
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 291.99 | 2568.19
4 | Transmission loss in system (C1-C2-C3) | 51.11 | 848.04
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.57 | 1.92
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 3325.62 | 44896.4
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 3236.38 | 43660.85
3 | Transmission loss in system (D1-D2) | 89.24 | 1235.55
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.68 | 2.75

## April-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF APR 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 1846.89 | 1846.89
2 | Energy Delivered to next (Lower) Voltage level | 1837.26 | 1837.26
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 2.04 | 2.04
4 | Transmission loss in system (A1-A2-A3) | 7.58 | 7.58
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.41 | 0.41
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2955.67 | 2955.67
2 | Energy Delivered to next (Lower) Voltage level | 2926.96 | 2926.96
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 9.43 | 9.43
4 | Transmission loss in system (B1-B2-B3) | 19.28 | 19.28
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.65 | 0.65
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3652.32 | 3652.32
2 | Energy Delivered to next (Lower) Voltage level | 3308.8 | 3308.8
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 262.86 | 262.86
4 | Transmission loss in system (C1-C2-C3) | 80.66 | 80.66
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 2.21 | 2.21
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 3704.51 | 3704.51
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 3597.41 | 3597.41
3 | Transmission loss in system (D1-D2) | 107.1 | 107.1
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.89 | 2.89

## May-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF MAY 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2303.79 | 4150.68
2 | Energy Delivered to next (Lower) Voltage level | 2285.99 | 4123.25
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0.94 | 2.98
4 | Transmission loss in system (A1-A2-A3) | 16.86 | 24.45
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.73 | 0.59
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3592.15 | 6547.82
2 | Energy Delivered to next (Lower) Voltage level | 3547.56 | 6474.52
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 11.13 | 20.56
4 | Transmission loss in system (B1-B2-B3) | 33.46 | 52.74
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 0.93 | 0.81
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4369.69 | 8022.02
2 | Energy Delivered to next (Lower) Voltage level | 4048.57 | 7357.37
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 248.6 | 511.46
4 | Transmission loss in system (C1-C2-C3) | 72.52 | 153.18
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.66 | 1.91
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4446.06 | 8150.56
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4325.05 | 7922.46
3 | Transmission loss in system (D1-D2) | 121.01 | 228.1
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.72 | 2.8

## Jun-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF JUN 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2336.67 | 6487.35
2 | Energy Delivered to next (Lower) Voltage level | 2312.9 | 6436.15
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0.93 | 3.9
4 | Transmission loss in system (A1-A2-A3) | 22.85 | 47.29
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.98 | 0.73
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3714.01 | 10261.83
2 | Energy Delivered to next (Lower) Voltage level | 3664.07 | 10138.58
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 12.76 | 33.33
4 | Transmission loss in system (B1-B2-B3) | 37.18 | 89.92
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1 | 0.88
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4555.38 | 12577.39
2 | Energy Delivered to next (Lower) Voltage level | 4287.22 | 11644.59
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 197.99 | 709.45
4 | Transmission loss in system (C1-C2-C3) | 70.17 | 223.35
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.54 | 1.78
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4643.38 | 12793.94
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4513.76 | 12436.22
3 | Transmission loss in system (D1-D2) | 129.61 | 357.72
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.79 | 2.8

## July-25
VOLTAGE WISE LOSS ACCOUNTING REPORT FOR THE MONTH OF JUL 2025
Sl. No. | Details | Energy | Cumulative Energy
|  | (In MU) | (In MU)
A | Losses in 400 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 2473.15 | 8960.49
2 | Energy Delivered to next (Lower) Voltage level | 2454.95 | 8891.1
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 0.95 | 4.85
4 | Transmission loss in system (A1-A2-A3) | 17.25 | 64.54
5 | Transmission loss in (Transco) system (%) {A4/A1} x 100 | 0.7 | 0.72
B | Losses in 220 KV system
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 3941.64 | 14203.47
2 | Energy Delivered to next (Lower) Voltage level | 3885.5 | 14024.08
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 15.55 | 48.87
4 | Transmission loss in system (B1-B2-B3) | 40.6 | 130.52
5 | Transmission loss in (Transco) system (%) {B4/B1} x 100 | 1.03 | 0.92
C | Loss Calculation at 132 KV
1 | Total Energy delivered by Generating Stations and Inter State/Intra State tie- links at the interface points of the Intra State Transmission system | 4882.09 | 17459.48
2 | Energy Delivered to next (Lower) Voltage level | 4615.15 | 16259.74
3 | Sum of all the energy delivered at this voltage level to the State Distribution System | 182.34 | 891.79
4 | Transmission loss in system (C1-C2-C3) | 84.6 | 307.95
5 | Transmission loss in (Transco) system (%) {C4/C1} x 100 | 1.73 | 1.76
D | Total Losses in the Transmission system
1 | Total Energy delivered by Generating Stations and Inter State tie-links at the interface points of the Intra State Transmission system | 4968.92 | 17762.86
2 | Sum of all the energy delivered by the Transmission system in to the State Distribution System | 4827.74 | 17263.96
3 | Transmission loss in system (D1-D2) | 141.18 | 498.9
4 | Transmission loss in (Transco) system (%) {(D3/D1) x 100} | 2.84 | 2.81