## june'19
Transmission loss for month June'2019 of BSPTCL |  |  | Transmission loss for month June'2019 of BSPTCL |  |  | Transmission loss for month June'2019 of BSPTCL
GSS power received/Send, from/to, CTU/ Other Utility | 220KV Level OU |  | GSS power received/Send, from/to, CTU/ Other Utility | 132KV level OU |  | GSS power received/Send, from/to, PSS, Solar, Rice Mill, Hydle | Energy at 33 kv level
| Energy Export at 220 kv level at Remote end (CTU/OU), received by BSPTCL (in MWH) | Energy Import at 220 kv level at remote end (CTU/OU), send by BSPTCL (in MWH) |  | Energy Export at 132 kv level at Remote end (CTU/OU/Consumer), received by BSPTCL (in MWH) | Energy Import at 132 kv level at remote end (CTU/OU/Consumer), send by BSPTCL (in MWH) |  | SST Consumption (in MWH) | Import from hydle, Rice Mill, Solar (in MWH) | Export to PSS, Solar, Hydle, Railway, Rice Mill (in MWH)
Gaurichak(Patna PG) | 496794.8998 |  | Hathidah (TSS) | 0 | 2675 | Katra 132/33 | 14.3917 | 0 | 60707.6423
Fatuha (Patna PG) |  |  | Fatuha(TSS) | 0 | 4668 | Gaurichak 220/132/33 KV | 0 | 0 | 26621
Khagaul(Patna PG) |  |  | Khagaul 220/132/33 KV(TSS) | 0 | 2629.92 | Masaudhi 132/33 | 2 | 0 | 12991
Khagaul(Ara (PG) | 1173 |  | Banjari 132/33 KV(KCL) | 0 | 2935.6 | Gaighat 132/33 | 4.3 | 0 | 48609.83
Khagaul(Patna PG U BGCL) |  |  | Aurangabad (SHREE CEMENT) | 0 | 11450.9 | Mithapur 132/33 | 5.49 | 0 | 33550.422
Dehri-on-Son(Pusauli PG) | 29195.776 |  | Sonenagar (Rihand) | 0 | 16803 | Barh 132/33 | 0 | 0 | 16484.616
Dehri-on-Son(GAYA PG) | 412692.6 |  | Sonenagar (TSS) | 0 | 2456.12 | Hathidah 132/33 | 0 | 0 | 14121
Sonenagar (Gaya PG) |  |  | Rafiganj (TSS) | 0 | 3504 | Fatuha | 0 | 0 | 42916.11
|  |  | Rafiganj (Alfa Solar) | 2805 | 21 | Jakkanpur 132/33 | 6.82 | 0 | 63160.02
Bodhgaya(Gaya PG) |  |  | Arrah (TSS) | 0 | 1781.87 | Karbigahia 132/33 | 7.4496 | 0 | 44633
Bodhgaya(K' Sarai BGCL) | 4964 |  | Arrah (PG) | 95797.862 | 0 | Digha (old) 132/33 | 0 | 0 | 53977.218
Pusauli (Pusauli PG) | 99731 |  | Jagdishpur (Ara PG) |  | 0 | Bihta(old) 132/33 | 28.756 | 0 | 48482.2
Pusauli (Ara PG) |  | 45322 | Dumraon (Ara PG) |  | 0 | Bihta New 220/132/33 KV | 0 | 0 | 0
|  |  | Dumraon (TSS) | 0 | 2054.8 | Khagaul 220/132/33 KV | 0 | 0 | 89534.372
Biharsarif (B'SarifPG) | 317434 |  | Karmnasa (Chnd, Sahpr) | 530 | 0 | Dehri 220/132/33 KV | 0 | 299.4667 | 26059.4648
Biharsarif (K'Sarai BGCL) |  | 43402 | Karmnasa (Kudra TSS) | 0 | 32 | Banjari 132/33 KV | 0 | 0 | 11737.125
Biharsarif (TTPS) | 91302 |  | Kudra (Pusauli PG) | 0 | 20279 | Bikramganj 132/33 KV | 14.77 | 0 | 26759.7
Biharsarif (BTPS) |  | 13597 | Pusauli (Kudra TSS) | 0 | 25245 | Sasaram 132/33 KV | 0 | 0 | 24318.08
Begusarai Purnea(PG) | 19375.68 |  | Mohaniya (Pusauli PG) | 19245.9204 | 0 | Kochas 132/33 KV | 4.52 | 0 | 15790.6
Kishanganj 220 | 194411 |  | Bodhgaya (TSS) | 0 | 2685.744 | Aurangabad 132/33 KV | 0 | 0 | 32792.55
Hajipur ( Amnour BGCL) |  | 110153 | Bodhgaya (BGCL) | 12880 | 1142 | Goh 132/33 KV | 0 | 0 | 9183.5
Hajipur 220 (BTPS NTPC) | 13740 | 141.8 | Sherghati (Solar) | 3436.125 | 20.757 | Sonenagar 132/33 KV | 0 | 0.9 | 24158.931
Hajipur 220 (Kafeen PG) | 163929 |  | Wazirganj (BGCL) | 12702 | 0 | Sonenagar 220/132/33 KV | 0 | 0 | 0
Motipur (MTPS) | 51579.6 |  | Jahanabad (TSS) | 0 | 2287.392 | Rafiganj 132/33 KV | 0 | 0 | 18091.6
Motipur (DMTCL) | 166265.9757 |  | Hulasganj (BGCL) | 13994.99 | 0 | Arrah 132/33 KV | 0 | 0 | 39322.1333
Darbhanga 220 (DMTCL) |  |  | Biharsharif (132 BGCL) | 3973 | 2024 | Buxer 132/33 KV | 0 | 478.05 | 22504.6833
Laukahi (DMTCL) |  |  | Nalanda (Barhi) | 0 | 15.372 | Jagdishpur 132/33 KV | 7.9407 | 0.5 | 22827
Samastipur 220 (DMTCL) |  |  | Nawada (BGCL) | 43003.6 | 0 | Piro 132/33 KV | 0 | 0 | 6835.5
Samastipur 220 (MTPS) | 16478.16 |  | Rajgir (Barhi) | 0 | 0 | Dumraon 132/33 KV | 16.974 | 0 | 26572
Gopalganj(MTPS) | 107897 |  | Rajgir (Ord. Factory) | 0 | 351.6 | Karmnasa 132/33 KV | 0 | 0 | 17548.472
Madhepura (Purnea PG) | 78747 |  | Shiekhpura (BGCL) | 8353 | 0 | Ramgarh 132/33 KV | 0 | 0 | 7587
Total | 2265710.6916 | 212615.8 | Sabour(BGCL) | 1 | 1 | Bhabhua 132/33 KV | 0 | 0 | 2304.24
|  |  | Sabour(NTPC) | 17108.622 | 0 | Kudra 132/33 KV | 0 | 0 | 11971
|  |  | Sabour (Banka PG) | 124726.9486 | 0 | Pusauli 220/132/33 KV | 0 | 0 | 3422.2
|  |  | Banka 132/33(Banka PG) |  | 0 | Mohaniya 132/33 KV | 0 | 0 | 17843.4
|  |  | Sultanganj (Banka PG) |  | 0 | Bodhgaya 220/132/33 KV | 0 | 0 | 44173.3854
|  |  | Sultanganj (Jamalpur BGCL) | 0 | 37450 | Sherghati 132/33 | 0 | 3396.9 | 14255
|  |  | Sultanganj (G' Dih BGCL) | 12 | 6317 | Wazirganj 132/33 KV | 0 | 0 | 11375
|  |  | Sultanganj (Deoghar) | 0 | 6.7584 | Imamganj 132/33 KV | 0.0738 | 0 | 12488
|  |  | Kahalgaon (NTPC) | 37341.54 |  | Chandauti 132/33 | 0 | 0 | 55082
|  |  | Kahalgaon (Lalmatiya) | 0 | 16524.8928 | Belaganj 132/33 KV | 0 | 0 | 9219.7
|  |  | Naugachhia 132/33(BTPS) | 1184 | 466 | Tekari 132/33 KV | 6.5623 | 0 | 12219
|  |  | Jamalpur 132/33(BGCL) | 34448.5 |  | Jahanabad 132/33 | 0 | 0 | 20263.8243
|  |  | Jamui (TSS) | 0 | 4035.12 | Tehta 132/33 KV | 0 | 0 | 7914.8
|  |  | Jamui (Lakhisarai PG) | 97196.8325 |  | Hulasganj 132/33 | 0 | 0 | 11230.9
|  |  | Lakhisarai (Lakhisarai PG) |  |  | Ataulah 132/33 | 0 | 0 | 22004.6
|  |  | Lakhisarai (TSS) | 0 | 3863.31 | Biharsharif | 0 | 0 | 4.6
|  |  | Lakhisarai (BGCL) | 0 | 24 | Nalanda 132/33 | 0.001 | 0 | 15304
|  |  | Begusarai(BTPS) | 105.5 | 29592 | Ekangarsarai 132/33 | 0 | 0 | 20846
|  |  | Khagaria (BTPS) | 20482 |  | Harnaut 132/33 | 0 | 0 | 23458.8
|  |  | Khagaria (TSS) | 0 | 1586.26 | Baripahari 132/33 | 1 | 0 | 42581.6
|  |  | Purnea (Purnea PG) | 135147.132 |  | Nawada 132/33 | 0 | 1819.5333 | 38819.66
|  |  | Kisanganj (Purnea PG) |  |  | Warsaliganj 132/33 | 0 | 0 | 8493
|  |  | Baisi 132/33(Dalkola) | 1996 |  | Rajgir 132/33 | 0 | 0 | 15257
|  |  | Samastipur (TSS) | 0 | 943 | Shiekhpura 132/33 | 0 | 0 | 19831.5
|  |  | Samastipur 132/33 (KBUNL) | 137505 |  | Sabour 132/33 | 0 | 0 | 48432.5
|  |  | Muzaffarpur 132/33(KBUNL) |  |  | Sultanganj 132/33 | 0 | 0 | 23211
|  |  | SKMCH 132/33 KV(KBUNL) |  |  | Kahalgaon 132/33 | 17.978 | 0 | 20130.3
|  |  | Motipur 220/132/33(KBUNL) |  |  | Banka 132/33 | 0 | 3021 | 20232.755
|  |  | Motipur (TSS) | 7 | 651 | BANKA NEW 132/33 KV | 0 | 0 | 5395.2
|  |  | Hajipur (TSS) | 0 | 980.871 | Naugachhia 132/33 | 0 | 0 | 15290
|  |  | Vaishali (BRF) | 0 | 1188 | Jamalpur 132/33 | 0 | 0 | 30591.1
|  |  | Dalsingh Sarai(TSS) | 0 | 2379 | Tarapur 132/33 | 0 | 0 | 8254
|  |  | Rosera(Sugar Mill) | 0 | 100.59 | Jamui 132/33 | 0 | 0 | 26660.902
|  |  | Motihari(Sugauli Sugar Mill) | 0 | 58.0086 | Jamui (new) | 0 | 0 | 7525.4
|  |  | 132/33 Motihari(DMTCL) | 145225 | 0 | Lakhisarai 132/33 | 0 | 0 | 27196.175
|  |  | 132/33 Betiah(DMTCL) |  | 0 | Begusarai | 0 | 0 | 37281
|  |  | 132/33 Raxaul(DMTCL) |  | 78 | Balaia 132/33 | 0 | 0 | 11429.5
|  |  | 132/33 Raxaul(PARWANIPUR) | 0 | 26764 | Manjhaul 132/33 | 0 | 0 | 16862
|  |  | Ramnagar (BHPC) | 2175.024 | 5842.92 | Teghra 132/33 KV | 0 | 0 | 542
|  |  | Ramnagar (Sugar Mill) | 5.19 | 518.84 | Khagaria 132/33 | 0 | 0 | 25138.7
|  |  | Chapra (BGCL) | 52111.8 | 0 | Bakhri 132/33 | 0 | 0 | 0
|  |  | Chapra (TSS) | 0 | 1714.809 | Purnea 132/33 | 0 | 0 | 48290.4
|  |  | Sheetalpur 132/33 KV | 0 | 3208.8 | Damdaha 132/33 | 0 | 0 | 703.6
|  |  | 132/33 MASHRAKH(DLF) | 0 | 397.7 | Banmankhi 132/33 | 0 | 0 | 12218
|  |  | Gopalganj KV(SUGAR MILL) | 0 | 102.3 | Barsoi 132/33 | 0 | 0 | 12866
|  |  | Siwan 132/33 KV(BGCL) | 42629.4 | 0 | Manihari 132/33 | 0 | 0 | 4411
|  |  | Siwan 132/33 KV(TSS) | 0 | 1398.2 | Katihar 132/33 | 11.6 | 0 | 24073.9
|  |  | Madhepura(RAILWAY FAC) | 0 | 583.5 | Baisi 132/33 | 9 | 0 | 1954
|  |  | Kataiya 132/33 KV | 879.84 | 54239.36 | Kisanganj220/132/33 | 0 | 0 | 5871.6
|  |  | 0 | 1067009.8265 | 306078.3148 | Kisanganj 132/33 | 0 | 0 | 18280.26
[6 empty] | Forbisganj 132/33 | 0 | 0 | 24432.497
[6 empty] | Araria 132/33 | 0 | 0 | 11836.7625
[6 empty] | Muzaffarpur 132/33 | 0 | 0 | 49995
[6 empty] | SKMCH 132/33 KV | 0 | 0 | 42024.9
[6 empty] | Motipur 220/132/33 KV | 0 | 0 | 11217
[6 empty] | Mushahari 220/132/33 | 0 | 0 | 17932
[6 empty] | Sitamari 132/33 | 0 | 0 | 29877
[6 empty] | Runnisaidpur 132/33 | 0 | 0 | 10430.28
[6 empty] | Belsand 132/33 | 0 | 0 | 2267.5
[6 empty] | Pupri 132/33 | 0 | 0 | 10854
[6 empty] | Sheohar 132/33 | 0 | 0 | 9865.5
[6 empty] | Hajipur 220 KV | 0 | 0 | 0
[6 empty] | Hajipur132/33 | 0 | 0 | 49947.7658
[6 empty] | Vaishali 132/33 | 0 | 0 | 26380.308
[6 empty] | Jandaha | 0 | 0 | 24766.7
[6 empty] | Mahnar | 0 | 0 | 5680
[6 empty] | Samastipur 132/33 | 0 | 0 | 33618.3534
[6 empty] | Samastipur new220/132/33 | 16.94 | 0 | 3914.94
[6 empty] | Sahpurpatori 132/33 KV | 0 | 0 | 0
[6 empty] | Dalsinghsarai | 0 | 0 | 18134.052
[6 empty] | Rosera | 0 | 0 | 8859
[6 empty] | Darbhanga (220) | 0 | 0 | 0
[6 empty] | Darbhanga 132/33 | 0 | 0 | 16810.1
[6 empty] | Gangwara 132/33 | 0 | 0 | 29728.852
[6 empty] | Kusheshwarsthan 132/33 | 0 | 0 | 11750.304
[6 empty] | Madhubani | 0 | 0 | 14209.368
[6 empty] | Pandaul | 0 | 0 | 20143.758
[6 empty] | Jainagar | 0 | 0 | 12215.0975
[6 empty] | Benipatti | 7.43 | 0 | 10141.934
[6 empty] | Phulparas | 0 | 0 | 14135.342
[6 empty] | Jhanjarpur | 0 | 0 | 4140
[6 empty] | Laukhai | 0 | 0 | 828.4
[6 empty] | 132/33 Motihari | 27.021 | 0 | 33917.051
[6 empty] | 132/33 Dhaka | 0 | 0 | 19092.299
[6 empty] | 132/33 Pakdidyal | 0 | 0 | 1822.8
[6 empty] | Chakiya | 0 | 0 | 13061.097
[6 empty] | 132/33 Raxaul | 0 | 0 | 17254.106
[6 empty] | Areraj 132/33 KV | 0 | 0 | 9096.8
[6 empty] | 132/33 Betiah | 0 | 0 | 28794.82
[6 empty] | 132/33 Ramnagar | 0 | 1227.108 | 21157.203
[6 empty] | 132/33 Narkatiyaganj | 0 | 0 | 6206.8
[6 empty] | 132/33 Thakara | 5.75 | 1391.4 | 1200.35
[6 empty] | Chapra 132/33 KV | 0 | 0 | 27137.916
[6 empty] | Sheetalpur 132/33 KV | 0 | 0 | 13348.062
[6 empty] | 132/33 MASHRAKH | 0 | 0 | 16408.656
[6 empty] | Ekma 132/33 KV | 4.57 | 0 | 10024.63
[6 empty] | Gopalganj 132/33 KV | 190.15 | 0 | 40430.752
[6 empty] | Hathua 132/33 KV | 0 | 0 | 13662.32
[6 empty] | Siwan 132/33 KV | 15.39 | 0 | 40059.5369
[6 empty] | Raghunathpur 132/33 KV | 0 | 0 | 12537.6
[6 empty] | Maharajganj 132/33 KV | 0 | 0 | 11734.76
[6 empty] | Madhepura | 0 | 0 | 17506
[6 empty] | Udakisanganj | 10.63 | 0 | 15102.384
[6 empty] | Sahrsa 132/33 KV | 7.65 | 0 | 18041.403
[6 empty] | Sonbrsha | 0 | 0 | 7590.6
[6 empty] | Simri Bakhtiyarpur132/33 KV | 0 | 0 | 6751.8
[6 empty] | Raghopur 132/33 KV | 0 | 0 | 5954.5
[6 empty] | Supaul 132/33 KV | 0 | 0 | 16760.879
[6 empty] | Kataiya 132/33 KV | 5.438 | 0 | 6632.034
[6 empty] | Nirmali 132/33 KV | 0 | 0 | 2559
[6 empty] | Triveniganj | 0 | 0 | 2751
| 2265710.6916 | 212615.8 | 0 | 1067009.8265 | 306078.3148 | Total | 450.5961 | 11634.858 | 2743815.1445
220 import from OU |  | 2265710.6916
220 Export to OU |  | 212615.8
Net 220 in System |  | 2053094.8916
132 KV Import from OU |  | 1067009.8265
132 KV Export to OU |  | 306078.3148
Net 132 KV in System |  | 760931.5117
33 KV import in system |  | 11634.858
33 KV SST Aux. Consumotion |  | 450.5961
total power in system |  | 2825661.2612
total 33 KV |  | 2743815.1445
Loss |  | 81395.5206
% loss |  | 2.4338

## Sheet3
Transmission loss for month June'2019 of BSPTCL
220KV Level OU |  | 132KV level OU |  | Energy at 33 kv level
Energy Export at 220 kv level at Remote end (CTU/OU), received by BSPTCL (in MWH) | Energy Import at 220 kv level at remote end (CTU/OU), send by BSPTCL (in MWH) | Energy Export at 132 kv level at Remote end (CTU/OU/Consumer), received by BSPTCL (in MWH) | Energy Import at 132 kv level at remote end (CTU/OU/Consumer), send by BSPTCL (in MWH) | SST Consumption (in MWH) | Import from hydle, Rice Mill, Solar (in MWH) | Export to PSS, Solar, Hydle, Railway, Rice Mill (in MWH)
2265710.6916 | 212615.8 | 1067009.8265 | 306078.3148 | 450.5961 | 11634.858 | 2743815.1445
220 import from OU |  | 2265710.6916 | A |  | 3344355.376
220 Export to OU |  | 212615.8 | B |  | 3262509.2593
Net 220 in System |  | 2053094.8916 | C= A-B |  | 450.5961
132 KV Import from OU |  | 1067009.8265 | D |  | 81395.5206
132 KV Export to OU |  | 306078.3148 | E |  | 2.4338
Net 132 KV in System |  | 760931.5117 | F= D-E
33 KV import in system |  | 11634.858 | G
33 KV SST Aux. Consumotion |  | 450.5961 | H
total power in system |  | 2825661.2612 | I= C+F+G
total 33 KV |  | 2743815.1445 | J
Loss |  | 81395.5206 | K= I-J-H
% loss |  | 2.4338 | L = K/(A+D+G)*100
Note:- 1. All readings are in MWH.
2. OU Stand for Other Utility.
3. Energy reading taken of other(Remote) end, where line is ownered by BSPTCL.
4. Energy reading taken of BSPTCL(Local) end, where line is ownered by, other trans. Utilities.
5. In Patna(PG) reading of ICT-I,II&III has been taken which is availed by Gaurichak, Fatuha, & Khagaul
6. In Gaya(PG) reading of ICT-I,II&III has been taken which is availed by Dehri, Sonenagar, Bodhgaya & Khizirsarai(BGCL)
in which reaading of Khizirsarai(BGCL) is subtracted for Transmission loss calculation of BSPTCL.
7. In Darbhanga(DMTCL) reading of ICT-I&II has been taken which is availed by Motipur, Darbhanga(new), Laukahi &
Samastipur(new)
8. GSS having 33KV export is 0(zero), are cherged on no load.
9. Meter connection are applied for those GSS in which SST consumption is 0(zero).