ATC/TTC Declaration of Bihar State transmission System for the following months are as mentioned below:-

| Month | TTC (MW) | ATC(TTC-RM)(MW) | RM(MW) (2% of peak demand) |
| --- | --- | --- | --- |
| April-2025 | 7177 | 7033 | 144 |
| May-2025 | 7607 | 7454 | 152 |
| June-2025 | 8070 | 7908 | 161 |
| July-2025 | 8878 | 8700 | 178 |

TTC-Total Transfer capability,

ATC-Available Transfer capability

RM-Reliability Margin

RM-Reliability Margin (2% of peak demand or maximum generation in the state)

Taking 2% of Peak demand as reliability margin.

ATC=TTC-RM

| Assumptions |  |  |  |
| --- | --- | --- | --- |
| Month | Generation (MW) (Including Thermal, Hydro & RE generator of central sector & Sate sectors) | Peak Load(MW) | Remarks |
| April-2025 | 9333 | 7177 | Total LTA of BSPHCL with Thermal, Hydro & RE generator of central sector & Sate sectors is of 9333 MW. |
| May-2025 | 9333 | 7607 |  |
| June-2025 | 9333 | 8070 |  |
| July-2025 | 9333 | 8878 |  |
| Constraints |  |  |  |
| No any constraints at this loading. |  |  |  |