ATC/TTC Declaration of Bihar State transmission System for the month of July 2026 is mentioned below:-

| Month | TTC (MW) | ATC(TTC-RM)(MW) | RM(MW) (2% of peak demand) |
| --- | --- | --- | --- |
| July 2026 | 9772 | 9577 | 195 |

TTC-Total Transfer capability,

ATC-Available Transfer capability

RM-Reliability Margin

RM-Reliability Margin (2% of peak demand or maximum generation in the state)

Taking 2% of Peak demand as reliability margin.

ATC=TTC-RM

| Assumptions |  |  |  |
| --- | --- | --- | --- |
| Month | Generation (MW) (Including Thermal, Hydro & RE generator of central sector & Sate sectors) | Peak Load(MW) | Remarks |
| July 2026 | 10588 | 9772 | Total LTA of BSPHCL with Thermal, Hydro & RE generator of central sector & Sate sectors is of 10588 MW. |
| Constraints |  |  |  |
| - There may be a total load restriction of about 200 MW in following points: 132 KV Begusarai-Manjhaul T/L 132 KV Darbhanga-Madhubani D/C T/L 132 KV Karbigahiya-Mithapur 132 KV Saharsa(PG)-Saharsa T/L 400/220 KV ,315 MVA Biharsharif Transformer no.-2 400/220 KV ,500 MVA Biharsharif Transformer no.-4 - TTC is limited by load-generation balance. |  |  |  |