ATC/TTC Declaration of Bihar State transmission System for the month of March 2026 is mentioned below:-

| Month | TTC (MW) | ATC(TTC-RM)(MW) | RM(MW) (2% of peak demand) |
| --- | --- | --- | --- |
| March 2026 | 6678 | 6544 | 134 |

TTC-Total Transfer capability,

ATC-Available Transfer capability

RM-Reliability Margin

RM-Reliability Margin (2% of peak demand or maximum generation in the state)

Taking 2% of Peak demand as reliability margin.

ATC=TTC-RM

| Assumptions |  |  |  |
| --- | --- | --- | --- |
| Month | Generation (MW) (Including Thermal, Hydro & RE generator of central sector & Sate sectors) | Peak Load(MW) | Remarks |
| March 2026 | 9345 | 6678 | Total LTA of BSPHCL with Thermal, Hydro & RE generator of central sector & Sate sectors is of 9345 MW. |
| Constraints |  |  |  |
| No any constraints at this loading. |  |  |  |